Certificate of Expert Practice (CEP) in Point of Care Testing (POCT)

The CEP in Point Of Care Testing consists of six two-week modules.  It is assessed through the submission of two assessment pieces (one at the mid-point of the course and one at the end of the course) and an on-line examination the pass mark for which is 65%.

Modules

In brief the six modules and their learning outcomes are as follows:

Module 1 – An Introduction to POCT

At the end of this module you will be:

- able to define what POCT is and understand the challenges of determining what is a POC Test

- aware of the history of POCT from a technological and governance perspective

- able to describe how quality management and governance principles apply to POCT

- describe who performs POCT; Where POCT is performed and what parameters are commonly analysed

- describe the relationships that influence the delivery of a POCT service

Module 2 – Quality and Accreditation in POCT

At the end of this module you will:

- be aware of and understand integrated governance in the provision of a POCT service

- understand the importance of a quality management system (QMS) in the delivery of a POCT service

- understand the importance of internal quality control (IQC) and external quality assessment (EQA) in POCT, and the difference between laboratory and POCT IQC

- understand UKAS Accreditation of POCT services

- be aware of the importance of communication with users

- understand that collaborative working in POCT ensures the success of the POCT service

Module 3 – Principles of Measurement and Analytical Considerations in POCT

At the end of this module you will be able to:

- state the core technologies used within POCT

- give examples of techniques and how they differ from the laboratory

- demonstrate knowledge of key contra-indications and interferences

- demonstrate the key sample types along with how sensitivity and linearity interplay in terms of assay selection

- identify the main factors that impact the sample pathway and the importance of user interactions

- identify key factors that need to be considered when looking at the patient role within POCT and how POCT has a role within Pathology

Module 4 – Development of a Service Need

At the end of this module you will be:

- aware of the importance of establishing the clinical need for a new POCT service

- able to put together a business case for a new POCT service

- familiar with the procurement process for POCT devices

- aware of the factors for consideration when selecting POCT devices

- familiar with the verification process for POCT devices

- able to develop an implementation strategy for POCT services

Module 5 – Connectivity and Data Management in POCT

At the end of this module you will:

- appreciate the value of electronically connected POCT devices in the provision of an effective POCT service

- understand the challenges faced when managing a POCT service with limited connectivity and the whole service benefits of a central data management system

- identify ways in which connectivity can help the POCT service demonstrate compliance with ISO standards and support initial and on-going attainment of UKAS accreditation for the POCT service

- be aware of the variation in commercial middleware platforms available and the difficulties faced when developing a local connectivity solution

- appreciate the complexities of achieving full end to end connectivity

Module 6 – Training in POCT

At the end of this module you will be able to:

- demonstrate knowledge of key ISO requirements for training

- write and deliver a training plan

- identify the requirements for Practical training sessions

- identify the requirements for re-training and recertification of POCT users